## Slide 1: Salinas and Jobos BESS Facility Performance Guarantees

## Slide 2: Table of Contents
Topic Slide
Facility Performance Guarantees Overview 3
Foundation
Total Liquidated Damages (TLD) Formula 4
Availability & Capability
Facility Availability Benchmark and ALD 5-8
Guaranteed Capability Benchmark and CLD 9-12
Efficiency & Responsiveness
Efficiency Benchmark, Calculation, and ELD 13–17
Ramp Rate Guarantee
Ramp Rate Requirement and Repercussions 18–20
Performance Guarantees Summary
Facility Performance Guarantees Summary 21-22

## Slide 3: Facility Performance Guarantees Overview
The contract defines 4 key performance benchmarks the system must meet across Availability, Capacity, Efficiency, and Responsiveness
Failure to meet these benchmarks results in financial penalties or operational restrictions
These metrics directly impact overall compensation

## Slide 4: Total Liquidated Damages ($)
TLD = ALD + CLD + ELD
ALD = Availability Liquidated Damages
CLD = Capability Liquidated Damages
ELD = Efficiency Liquidated Damages

## Slide 5: Facility Availability Benchmark
Contract requires the system to be operational and available
at least 70% of the time each billing period
If the 70% benchmark is not met, the provider is financially penalized through Availability Liquidated Damages

## Slide 6: Availability Liquidated Damages ($)
ALD =
TA = Threshold Availability (%)
FA = Facility Availability for such Billing Period (%)
DDE = Degraded Duration Energy applicable to such Agreement Year (MWh)
RER = Replacement Energy Rate of $170/ MWh
CPP = Capability Payment Price applicable to such Agreement Year ($/MW-month)

## Slide 7: Facility Availability Benchmark - Repercussions
If Facility Availability falls below 70% in a billing period, the Monthly Fixed Payment (MFP) is reduced to $0
In addition, the provider must pay Availability Liquidated Damages
This means the provider not only loses all revenue for the month,
but also owes money to PREPA
Maintaining at least 70% availability is critical to avoid both lost revenue and financial penalties
If Facility Availability falls below 70% in a billing period, the Monthly Fixed Payment (MFP) is reduced to $0
In addition, the provider must pay Availability Liquidated Damages
This means the provider not only loses all revenue for the month,
but also owes money to PREPA
Maintaining at least 70% availability is critical to avoid both lost revenue and financial penalties

## Slide 8: Example: 60% Availability Triggers ALD and Zero MFP
RESULT: $5,420.95 ALD owed to PREPA
SCENARIO & INPUTS Facility Availability is measured at 60% in Agreement Year 1, below the 70% threshold. TA = 70.0%
FA = 60.0% DDE = 400 MWh RER = $170/MWh CPP = $25,096/MW-month FA < TA → ALD begins MFP is reduced to $0 when
FA < 80%
CALCULATION PATH 1. Net rat $170 − $25,096 ÷ 727.92 = $135.52/MWh 2. Energy shortfall (70% − 60%) × 400 = 40 MWh 3. ALD owed 40 × $135.52 = $5,420.95

## Slide 9: Guaranteed Capability Benchmark
Contract requires the system to maintain a minimum energy capacity (Guaranteed Capability) throughout the contract term, as verified through performance testing
If the benchmark is not met, the provider is financially penalized through Capability Liquidated Damages (by day) until performance is restored

## Slide 10: Capability Liquidated Damages ($)
CLD =
GC = Guaranteed Capability (MWh)
TDE = Tested Duration Energy (MWh)
RER = Replacement Energy Rate of $170/ MWh
CPP = Capability Payment Price applicable to such Agreement Year ($/MW-month)

## Slide 11: Guaranteed Capability Benchmark - Repercussions
Everyday that energy is below the Degraded Duration Energy
a fee is triggered
Tested Duration Energy must be reached to stop penalties
Prolonged underperformance results in lost revenue and daily fees owed to PREPA

## Slide 12: Example: 375 MWh Test Result Creates Daily CLD
RESULT: $101,642.76 CLD over 30 days until capability is re-demonstrated
SCENARIO & INPUTS An annual performance test records 375 MWh, below the 400 MWh guaranteed capability. The deficiency lasts 30 days. GC = 400 MWh TDE = 375 MWh RER = $170/MWh CPP = $25,096/MW-month Days = 30 TDE < GC → CLD begins CLD stops only when TDE ≥ GC
CALCULATION PATH 1. Net rate $170 − $25,096 ÷ 727.92 = $135.52/MWh 2. Capability shortfall 400 MWh − 375 MWh = 25 MWh 3. CLD per day and total 25 × $135.52 = $3,388.09/day; × 30 = $101,642.76
Total CLD – 30 Day Exposure
CLD = $3,388.09 x 30 days = $101,642.76

## Slide 13: Efficiency Benchmark
Contract requires the system to maintain a minimum efficiency level each billing period, comparing energy charged vs. discharged
If the benchmark is not met, the provider is financially penalized through Efficiency Liquidated Damages based on the efficiency shortfall

## Slide 14: Calculation of Actual Efficiency
AEn =
DEn = The total Discharge Energy for Billing Period from Meter Reading (MWh)
CEn = The total Discharge Energy for Billing Period from Meter Reading (MWh)
AEend = Stored Energy Level at 23:59 on the last Day of Billing Period (MWh)
AEbeg = Stored Energy Level at 23:59 on the last Day of the previous Billing Period (MWh)

## Slide 15: Efficiency Liquidated Damages ($)
ELD =
CE = The total Charge Energy for the Billing Period as Metered (MWh)
GE = Guaranteed Efficiency (MWh)
DE = The total Discharge Energy for the Billing Period as Metered (MWh)
RER = Replacement Energy Rate of $170/ MWh
CPP = Capability Payment Price applicable to such Agreement Year ($/MW-month)

## Slide 16: Example: 81.1% Actual Efficiency Triggers ELD
RESULT: $2,371.66 ELD owed to PREPA for this billing period
SCENARIO & INPUTS The facility charges 450 MWh and discharges 365 MWh. Stored energy is unchanged. GE = 85% AE = 81.1% CE = 450 MWh DE = 365 MWh AEend − AEbeg = 0 MWh RER = $170/MWh CPP = $25,096/MW-month AE < GE → ELD begins Gap = −3.9 percentage points
CALCULATION PATH 1. Actual Efficiency (365 + 0) ÷ 450 = 81.1% 2. Net rate $170 − $25,096 ÷ 727.92 = $135.52/MWh
3. Deficit (450 x 0.85) – 365
17.5 MWh
4. ELD owed (450 × 0.85) − 365 = 17.5 MWh × $135.52 = $2,371.66

## Slide 17: Efficiency Benchmark - Repercussions
Each billing period if Actual Efficiency for a Billing Period falls below Guaranteed Efficiency, a fee is triggered
This means the provider not only loses revenue for the period, but also owes additional fees to PREPA
Prolonged underperformance results in lost revenue and fees owed to PREPA

## Slide 18: Ramp Rate Requirement
Contract requires the system to meet a minimum response speed, ramping at least 10% of its capacity per minute
This ensures the facility can quickly respond to grid needs and dispatch energy when required
If the benchmark is not met, the system is taken offline
(Non-Scheduled Outage) until the issue is resolved

## Slide 19: Ramp Rate- Repercussions
If the Facility cannot achieve the Guaranteed Ramp Rate
(10% of Degraded Duration Energy per minute), it must be placed in a Non-Scheduled Outage until issues are resolved
This reduces Facility Availability (FA), which in turn reduces the Monthly Fixed Payment (MFP) for the Billing Period
Maintaining the Guaranteed Ramp Rate is critical to avoid lost revenue and reduced payments from PREPA

## Slide 20: Example: Ramp Failure Reduces MFP Through Availability
RESULT: $401,536 monthly payment reduction from the 72-hour outage
SCENARIO & INPUTS A performance test shows 35 MW/min vs. the 40 MW/min guaranteed ramp rate. Outage lasts 72 hours. Guaranteed = 40 MW/min Measured = 35 MW/min Outage = 72 hrs CPP = $25,096 MCC = 100 MW 35 < 40 → outage required No direct ramp LD; MFP reduction applies
CALCULATION PATH 1. Facility Availability (720 − 72) ÷ 720 = 90.0% 2. Facility Availability Adjustment 100% − [(98% − 90%) × 2] = 84.0% 3. Monthly payment impact Full MFP = $2,509,600; reduced MFP = $2,108,064
4. Revenue Impact
Loss = $2,509,600 - $2,108,064 = $401,536/month

## Slide 21
Example Calculations — What Changes Financially
Each guarantee has a different consequence: direct liquidated damages for availability, capability, and efficiency; an outage-driven payment reduction for ramp rate.
1.
Availability
FA = 60% vs. 70% threshold
ALD plus MFP reduced to zero
$5,420.95 ALD MFP = $0
2.
Capability
TDE = 375 MWh vs. 400 MWh GC
Daily CLD until capability is restored
$101,642.76 over 30 days
3.
Efficiency
AE = 81.1% vs. 85% GE
Energy deficit multiplied by net rate
$2,371.66 ELD
4.
Ramp Rate
35 MW/min vs. 40 MW/min
No direct LD; outage lowers MFP
$401,536 MFP reduction
The same net-rate logic appears across the examples, but the business impact differs by guarantee type.

## Slide 22: Facility Performance Guarantees – Summary
To avoid lost revenue and financial penalties, the Resource Provider must maintain:
Facility Availability (FA): 70% per Billing Period to receive any Monthly Fixed Payment (MFP) and avoid Availability Liquidated Damages (ALD)
Capability (Adjusted Duration Energy): Must meet or exceed Guaranteed Capability (GC) to stop daily Capability Liquidated Damages (CLD)
Efficiency: Actual Efficiency must meet or exceed Guaranteed Efficiency to avoid Efficiency Liquidated Damages (ELD)
Ramp Rate: Must achieve Guaranteed Ramp Rate (10% of Degraded Duration Energy per minute) to maintain Facility Availability and full MFP
Maintaining all four benchmarks is critical to protect revenue and prevent penalties owed to PREPA