## Slide 1: Salinas BESS Compensation Calculation

## Slide 2: Table of Contents
Compensation Structure Slide
Monthly Payment Overview 3
Monthly Fixed Payment Formula 4–5
Monthly Fixed Payment & CPP Detail 6–9
Payment Components
Monthly Contract Capability (MCC) 10–12
Facility Availability / FAA 13–18
PREPA Risk Adjustment (PRA) 19
Examples & Key Takeaways
Monthly Fixed Payment Overview 20
Monthly Fixed Payment Calculation Example 21
Key Takeaways 22

## Slide 3: Executive Summary – Monthly Payment (Energy Storage Services)
How it works:
Based on services delivered (charging, discharging, and operational support), with adjustments for any credits or penalties.
Idea: A payment from PREPA for Energy Storage Services provided during the billing period.
Key Takeaway:
This is a performance-based payment tied to real operations, separate from the fixed capacity payment.
MP = MFP - ADJ

## Slide 4: Executive Summary – Monthly Fixed Payment (MFP)
What’s Being Paid For:
CPP – Base capacity price
  (Project + Interconnection Costs)
MCC – Available capacity adjusted for Degradation/Performance
FAA – Availability of the facility
PRA – Adjustments for PREPA-related risk events
Idea: PREPA pays for the facility’s capacity and readiness, not actual energy delivered
What this means:
The payment is based on capability, not dispatch
Even if no energy is delivered, payment can still occur
Key Takeaways:
The largest drivers are capacity (MCC) and availability (FAA)
Maintaining performance and uptime is critical to maximizing payment
MFP = CPP x MCC x FAA x PRA

## Slide 5: BESS - Monthly Payment Formula
MP = MFP - ADJ
MP = Monthly Payment for such Billing Period
MFP = Monthly Fixed Payment for such Billing Period ADJ = Other Credits or amounts

## Slide 6: Monthly Fixed Payment
MP = MFP - ADJ
Monthly Fixed Payment ($)
What it is: Payment for the facility’s readiness and capability to deliver energy, covering all fixed costs.
How often it’s calculated: Once per billing period.
Why it matters: Ensures the Resource Provider is compensated even if energy isn’t delivered.
Calculation Impact: Uses facility capacity, availability, and PREPA risk adjustments to determine the amount.

## Slide 7: Monthly Fixed Payment
MFP = CPP x MCC x FAA x PRA
CPP = Capability Payment Price
MCC = Monthly Contract Capability FAA = Facility Availability Adjustment
PRA = PREPA Risk Adjustment

## Slide 8: Capability Payment Price
MFP = CPP x MCC x FAA x PRA
Capability Payment Price ($)
What it is: The base price paid per unit of capacity, combining project costs and interconnection costs.
How often it’s calculated: Set by Agreement Year and applied each billing period.
Why it matters: Determines the core rate used to calculate the Monthly Fixed Payment.
Calculation Impact: Based on fixed yearly rates, with possible adjustments for financing changes or interconnection cost differences.

## Slide 9: Capability Payment Price
MFP = CPP x MCC x FAA x PRA
CPPF: Fixed payment to cover the facility’s project costs, excluding PREPA interconnection work
CPPPIF: Fixed payment to cover the costs of PREPA Interconnection Facilities Work
Both increase by 2% each agreement year
CPP = CPPF + CPPPIF

## Slide 10: Monthly Contract Capability
MFP = CPP x MCC x FAA x PRA
Monthly Contract Capability
What it is: The adjusted capacity the facility is contractually able to deliver each month
How often it’s calculated: Initially at commercial operation, then updated annually and after performance tests
Why it matters: Reflects degradation and actual performance, directly impacting payments.
Calculation Impact: Set to the lower of degraded capacity or tested performance results

## Slide 11: Monthly Contract Capability
MFP = CPP x MCC x FAA x PRA
MCC = min[DDE / DDD, TR]
DDE: The reduced amount of energy the facility can deliver over time due to degradation
DDD: The original designed duration (energy capacity over time) of the facility at full performance
TR: The actual measured performance of the facility based on the most recent test

## Slide 12: Monthly Contract Capability Calculation Example
MCC = min[200/4 , 55] = 50 → MCC = 50 MW
Scenario: Post-degradation capacity test on a 4-hour BESS
DDE = 200 MWh DDD = 4 hrs TR = 55 MW
Energy ratio: DDE ÷ DDD = 200 ÷ 4 = 50 MW
Tested capability: TR = 55 MW
MCC = min[50, 55] = 50 MW
Effect on MFP: monthly payment scaled by 91%

## Slide 13: Facility Availability Adjustment
MFP = CPP x MCC x FAA x PRA
Facility Availability Adjustment
What it is: A performance adjustment based on how available the facility is to deliver or receive energy
How often it’s calculated: Once per billing period
Why it matters: Reduces payments if the facility is not sufficiently available
Calculation Impact: Based on total hours vs. outage hours, with payment reduced if availability falls below 98% and zeroed out below 70%

## Slide 14: Facility Availability Adjustment
MFP = CPP x MCC x FAA x PRA
Facility Availability (FA) | FAA
Greater than or equal to ninety-eight percent (98%) | One hundred percent (100%)
Less than ninety-eight percent (98%) but greater than seventy percent (70%) | One hundred percent (100%) – [(ninety-eight percent (98%) – FA)] x 2
Less than seventy percent (70%) | Zero percent (0%)

## Slide 15: Facility Availability Calculation
FA =
BP: Total number of hours in the billing period
PO: Allowed outage hours (e.g., scheduled maintenance or approved events)
UNAV: Unplanned or unapproved outage hours when the facility couldn’t deliver or receive energy
UNAVPROD: Hours when the facility couldn’t provide non-energy services (but could still deliver energy)

## Slide 16: Facility Availability Calculation Example
FA = (744 − 40 − 18 − 5) ÷ 744 = 681 ÷ 744 = 91.53% → FAA = 87.06%
Scenario: 31-day billing period (744 hrs), Month 3, Year 2
BP = 744 hrs PO = 40 hrs UNAV = 18 hrs UNAVPROD = 5 hrs
Numerator: 744 − (40 + 18 + 5) = 681 hrs available
Denominator: BP = 744 hrs
FA = 681 ÷ 744 = 91.53%
FAA Tier: 70% < FA < 98% → 100% − (98% − 91.53%) × 2 → FAA = 87.06%

## Slide 17: Facility Availability Adjustment
MFP = CPP x MCC x FAA x PRA
PREPA Risk Adjustment
What it is: An adjustment that reduces payment for periods impacted by PREPA-related risks (e.g., grid events, force majeure, insurance-covered events)
How often it’s calculated: Once per billing period
Why it matters: Ensures the Resource Provider is not paid for downtime caused by PREPA or covered risk events
Calculation Impact: Based on total hours minus qualifying risk-event hours, reducing the overall payment proportionally

## Slide 18: Facility Availability Adjustment
MFP = CPP x MCC x FAA x PRA
PRA =
BP: Total number of hours in the billing period
GSE: Hours lost due to Grid System Events not caused by PREPA force majeure
PFM: Hours lost due to PREPA Force Majeure events
IP: Hours lost for events where the Resource Provider can recover insurance proceeds (e.g., business interruption)

## Slide 19: PREPA Risk Adjustment
PRA = (720 − (30 + 12 + 0)) ÷ 720 = 678 ÷ 720 = 0.9417 → PRA = 94.17%
Scenario: 30-day billing period (720 hrs), Month 9, Year 2 — PREPA-side risk events
BP = 720 hrs GSE = 30 hrs PFM = 12 hrs IP = 0 hrs
Numerator: 720 − (30 + 12 + 0) = 678 eligible hrs
Denominator: 720 hrs (total billing period)
PRA = 678 ÷ 720 = 0.9417 (94.17%)
Effect on MFP: monthly payment scaled by 94.17%

## Slide 20
Monthly Fixed Payment Overview
MFP = CPP x MCC x FAA x PRA
CPP: Base price per unit of capacity, set by agreement year (project + interconnection costs)
MCC: Adjusted capacity the facility can deliver, based on degradation and performance tests
FAA: % adjustment based on how available the facility was during the billing period
PRA: % adjustment accounting for downtime caused by PREPA-related risk events
CPP = CPPF + CPPPIF
MCC = min[DDE / DDD, TR]
FA =
Facility Availability (FA) | FAA
Greater than or equal to ninety-eight percent (98%) | One hundred percent (100%)
Less than ninety-eight percent (98%) but greater than seventy percent (70%) | One hundred percent (100%) – [(ninety-eight percent (98%) – FA)] x 2
Less than seventy percent (70%) | Zero percent (0%)
PRA =
Capability Payment Price
Monthly Contract Capability
Facility Availability
PREPA Risk Adjustment

## Slide 21
Monthly Fixed Payment Calculation Example
MFP = $25,096 × 50 × 0.99 × 0.9417 = $1,170,254
CPP: Base price per unit of capacity, set by agreement year (project + interconnection costs)
MCC: Adjusted capacity the facility can deliver, based on degradation and performance tests
FAA: % adjustment based on how available the facility was during the billing period
PRA: % adjustment accounting for downtime caused by PREPA-related risk events
CPP = $23,896 + $1,200 = $25,096
MCC = min[200/4 , 55] = 50 MW
FA = = 97.5%
→ FAA = 99.00%
Facility Availability (FA) | FAA
Greater than or equal to ninety-eight percent (98%) | One hundred percent (100%)
Less than ninety-eight percent (98%) but greater than seventy percent (70%) | One hundred percent (100%) – [(ninety-eight percent (98%) – FA)] x 2
Less than seventy percent (70%) | Zero percent (0%)
PRA = = 94.17%
Capability Payment Price
Monthly Contract Capability
Facility Availability
PREPA Risk Adjustment

## Slide 22: Key Takeaways
The MFP is PREPA’s payment to the plant
Availability (FAA) is the biggest lever LUMA can influence, staying above 98% protects the full payment
The MCC degrades over time, so performance tests matter
PREPA Risk events protect the plant from losing payment for things outside its control
The worked example shows how small dips in availability/capability reduce the payment
Facility Availability Adjustment (FAA) has three tiers: FA ≥ 98% -> 100%; 70-98% -> partial (2x penalty); < 70% -> zero payment. Scheduled outages capped at 160 hrs/yr